RAJA KISHORE CHANDRA ACADEMY OF TECHNOLOGY NILGIRI- 756040, BALASORE (ODISHA) (Approved by AICTE& affiliated to SCTE&VT, Odisha)

LESSON PLAN FACULTY NAME – ER. MANOJ KUMAR PARIDA

SUBJECT: Th-4 (GENERATION TRANSMISSION &DISTRIBUTION)

CHAPTER WISE DISTRIBUTION OF PERIODS

| Sl.No. | Name of the chapter as per the Syllabus |  | No. of Periods as per the Syllabus | No. of periods actually needed |
| --- | --- | --- | --- | --- |
| 1 | Generation of electricity |  | 7 | 7 |
| 2 | Transmission of electric power 05 |  | 5 | 5 |
| 3 | Over head line |  | 7 | 7 |
| 4 | Performance of short & medium lines |  | 7 | 7 |
| 5 | EHV transmission |  | 7 | 7 |
| 6 | Distribution System 07 |  | 7 | 7 |
| 7 | Underground cable 06 |  | 6 | 6 |
| 8 | Economic Aspects |  | 6 | 6 |
| 9 | Types of tariff |  | 3 | 3 |
| 10 | Substation |  | 5 | 5 |
|  |  | TOTAL | 60 | 60 |

| Week | Class Day | Theory / Practical Topics |
| --- | --- | --- |
| 1st | 1st | GENERATION OF ELECTRICITY: Elementary idea on generation of electricity from Thermal, Hydel, Nuclear, Power station. |
|  | 2nd | Elementary idea on generation of electricity from Thermal, Hydel, Nuclear, Power station. |
|  | 3rd | Elementary idea on generation of electricity from Thermal, Hydel, |
|  | 4th | Elementary idea on generation of electricity from Thermal, Hydel, Nuclear, Power station. |
|  | 5th | Elementary idea on generation of electricity from Thermal, Hydel, Nuclear, Power station. |
| 2nd | 1st | Introduction to Solar Power Plant (Photovoltaic cells). |
|  | 2nd | Layout diagram of generating stations |
|  | 3rd | TRANSMISSION OF ELECTRIC POWER Layout of transmission and distribution scheme. |
|  | 4th | Voltage Regulation & efficiency of transmission. |
|  | 5th | State and explain Kelvin’s law for economical size of conductor. |
| 3rd | 1st | State and explain Kelvin’s law for economical size of conductor. |
|  | 2nd | Corona and corona loss on transmission lines. |
|  | 3rd | OVER HEAD LINES Types of supports, size and spacing of conductor. |
|  | 4th | Types of conductor materials. |

|  | 5th | State types of insulator and cross arms. |
| --- | --- | --- |
| 4th | 1st | Sag in overhead line with support at same level and different level. (approximate formula effect of wind, ice and temperature on sag) |
|  | 2nd | Sag in overhead line with support at same level and different level. (approximate formula effect of wind, ice and temperature on sag) |
|  | 3rd | Sag in overhead line with support at same level and different level. (approximate formula effect of wind, ice and temperature on sag) |
|  | 4th | Simple problem on sag. |
|  | 5th | PERFORMANCE OF SHORT & MEDIUM LINES Calculation of regulation and efficiency |
| 5th | 1st | Calculation of regulation and efficiency |
|  | 2nd | Calculation of regulation and efficiency |
|  | 3rd | Calculation of regulation and efficiency |
|  | 4th | Calculation of regulation and efficiency |
|  | 5th | Calculation of regulation and efficiency |
| 6th | 1st | Calculation of regulation and efficiency |
|  | 2nd | EHV TRANSMISSION EHV AC transmission |
|  | 3rd | Reasons for adoption of EHV AC transmission. |
|  | 4th | Reasons for adoption of EHV AC transmission. |

|  | 5th | Reasons for adoption of EHV AC transmission. |
| --- | --- | --- |
|  | 1st | Problems involved in EHV transmission |
|  | 2nd | HV DC transmission |
|  | 3rd |  |
| 7th |  | Advantages and Limitations of HVDC transmission system |
|  | 4th | DISTRIBUTION SYSTEMS Introduction to Distribution System |
|  | 5th | Connection Schemes of Distribution System: (Radial, Ring Main and Inter connected system) |
| 8th | 1st | DC distributions Distributor fed at one End. |
|  | 2nd | Distributor fed at both the ends. |
|  | 3rd | Ring distributors. AC distribution system |
|  | 4th | Method of solving AC distribution problem. |
|  | 5th | Three phase four wire star connected system arrangement. |
| 9th | 1st | UNDERGROUND CABLES Cable insulation and classification of cables. |
|  | 2nd | Types of L. T. & H.T. cables with constructional features |
|  | 3rd | Types of L. T. & H.T. cables with constructional features |

|  | 4th | Methods of cable lying |
| --- | --- | --- |
|  | 5th | Methods of cable lying |
| 10th | 1st | Localization of cable faults: Murray and Varley loop test for short circuit fault / Earth fault |
|  | 2nd | ECONOMIC ASPECTS Causes of low power factor and methods of improvement of power factor in power system. |
|  | 3rd | Causes of low power factor and methods of improvement of power factor in power system. |
|  | 4th | Factors affecting the economics of generation: (Define and explain) |
|  | 5th | Load curves. Demand factor. |
| 11th | 1st | Maximum demand Load factor. Diversity factor |
|  | 2nd | Peak load and Base load on power station. |
|  | 3rd | TYPES OF TARIFF Desirable characteristic of a tariff |
|  | 4th | Desirable characteristic of a tariff |
|  | 5th | Explain flat rate, block rate, two part and maximum demand tariff. (Solve Problems) |
|  | 1st | SUBSTATION Layout of LT, HT and EHT substation |
|  | 2nd | Layout of LT, HT and EHT substation |

| 12th | 3rd | Layout of LT, HT and EHT substation |
| --- | --- | --- |
|  | 4th | Earthing of Substation, transmission and distribution lines. |
|  | 5th | Earthing of Substation, transmission and distribution lines. |