RAJA KISHORE CHANDRA ACADEMY OF TECHNOLOGY NILGIRI- 756040, BALASORE (ODISHA) (Approved by AICTE& affiliated to SCTE&VT, Odisha)

LESSON PLAN FACULTY NAME – ER. PRIYABRATA MOHAPATRA

SUBJECT: Th-2 (SWITCH GEAR AND PROTECTIVE DEVICES)

CHAPTER WISE DISTRIBUTION OF PERIODS

| Sl.No. |  | Name of the chapter as per the Syllabus | No. of Periods as per the Syllabus | No. of periods actually needed |
| --- | --- | --- | --- | --- |
| 1 |  | Introduction to switchgear | 6 | 6 |
| 2 |  | Fault calculation | 10 | 10 |
| 3 |  | Fuses | 6 | 6 |
| 4 |  | Circuit breakers | 10 | 10 |
| 5 |  | Protective relays | 8 | 8 |
| 6 |  | Protection of electrical power equipment and lines | 6 | 6 |
| 7 |  | Protection against over voltage and lighting | 8 | 8 |
| 8 |  | Static relay | 6 | 6 |
|  |  | TOTAL | 75 | 75 |
| Week | Class Day | Theory / Practical Topics |  |  |

| 1st | 1st | INTRODUCTION TO SWITCHGEAR 1.1 Essential Features of switchgear |
| --- | --- | --- |
|  | 2nd | 1.2 Switchgear Equipment |
|  | 3rd | 1.3 Bus-Bar Arrangement |
|  | 4th | 1.4 Switchgear Accommodation |
|  | 5th | TUTORIAL |
| 2nd | 1st | 1.5 Short Circuit |
|  | 2nd | 1.6 Short circuit |
|  | 3rd | 1.7 Faults in a power system. |
|  | 4th | - FAULT CALCULATION 2.1 Symmetrical faults on 3-phase system. |
|  | 5th | TUTORIAL |
| 3rd | 1st | 2.2 Limitation of fault current. |
|  | 2nd | 2.3 Percentage Reactance. |
|  | 3rd | 2.4 Percentage Reactance and Base KVA. |
|  | 4th | 2.5 Short – circuit KVA. |
|  | 5th | TUTORIAL |
| 4th | 1st | 2.6 Reactor control of short circuit currents |
|  | 2nd | 2.7 Location of reactors. |
|  | 3rd | 2.8 Steps for symmetrical Fault calculations. |
|  | 4th | 2.9 Solve numerical problems on symmetrical fault. |
|  | 5th | TUTORIAL |
|  | 1st | - FUSES 3.1 Desirable characteristics of fuse element. |
|  | 2nd | 3.2 Fuse Element materials. |

| 5th | 3rd | 3.3 Types of Fuses and important terms used for fuses. |
| --- | --- | --- |
|  | 4th | 3.4 Low and High voltage fuses |
|  | 5th | TUTORIAL |
| 6th | 1st | 3.5 Current carrying capacity of fuse element. |
|  | 2nd | 3.6 Difference Between a Fuse and Circuit Breaker. |
|  | 3rd | CIRCUIT BREAKERS 4.1 Definition and principle of Circuit Breaker. |
|  | 4th | 4.2 Arc phenomenon and principle of Arc Extinction. |
|  | 5th | TUTORIAL |
| 7th | 1st | 4.3 Methods of Arc Extinction 4.4 Definitions of Arc voltage, Re-striking voltage and Recovery voltage. |
|  | 2nd | 4.5 Classification of circuit Breakers. 4.6 Oil circuit Breaker and its classification. |
|  | 3rd | 4.6 Oil circuit Breaker and its classification 4.7 Plain brake oil circuit breaker. |
|  | 4th | 4.7 Plain brake oil circuit breaker. 4.8 Arc control oil circuit breaker. |
|  | 5th | TUTORIAL |
| 8th | 1st | 4.9 Low oil circuit breaker. 4.10 Maintenance of oil circuit breaker. |
|  | 2nd | 4.11 Air-Blast circuit breaker and its classification |
|  | 3rd | 4.12 Sulphur Hexa-fluoride (SF6) circuit breaker 4.13 Vacuum circuit breakers. |
|  | 4th | 4.13 Vacuum circuit breakers. 4.14 Switchgear component. 4.15 Problems of circuit interruption. |

|  | 5th | TUTORIAL |
| --- | --- | --- |
| 9th | 1st | 4.16 Resistance switching. 4.17 Circuit Breaker Rating. |
|  | 2nd | PROTECTIVE RELAYS 5.1 Definition of Protective Relay. 5.2 Fundamental requirement of protective relay. |
|  | 3rd | 5.3 Basic Relay operation 5.3.1. Electromagnetic Attraction type 5.3.2. Induction type 5.4 Definition of following important terms |
|  | 4th | 5.5 Definition of following important terms. 5.5.1. Pick-up current. 5.5.2. Current setting. 5.5.3. Plug setting Multiplier. 5.5.4. Time setting Multiplier. |
|  | 5th | TUTORIAL |
| 10th | 1st | 5.5 Definition of following important terms. 5.5.1. Pick-up current. 5.5.2. Current setting. 5.5.3. Plug setting Multiplier. 5.5.4. Time setting Multiplier. |
|  | 2nd | 5.6 Classification of functional relays 5.7 Induction type over current relay (Non-directional) |
|  | 3rd | 5.8 Induction type directional power relay. 5.9 Induction type directional over current relay. |
|  | 4th | 5.10 Differential relay 5.10.1. Current differential relay 5.10.2. Voltage balance differential relay. |
|  | 5th | TUTORIAL |
|  | 1st | 5.11 Types of protection |

| 11th | 2nd | PROTECTION OF ELECTRICAL POWER EQUIPMENT AND LINES 6.1 Protection of alternator. 6.2 Differential protection of alternators |
| --- | --- | --- |
|  | 3rd | 6.3 Balanced earth fault protection. |
|  | 4th | 6.4 Protection systems for transformer. 6.5 Buchholz relay. |
|  | 5th | TUTORIAL |
| 12th | 1st | 6.6 Protection of Bus bar. |
|  | 2nd | 6.7 Protection of Transmission line. |
|  | 3rd | 6.8 Different pilot wire protection (Merz-price voltage Balance system) |
|  | 4th | 6.9 Explain protection of feeder by over current and earth fault relay |
|  | 5th | TUTORIAL |
| 13th | 1st | PROTECTION AGAINST OVER VOLTAGE AND LIGHTING 7.1. Voltage surge and causes of over voltage. |
|  | 2nd | 7.2. Internal cause of over voltage. |
|  | 3rd | 7.3. External cause of over voltage (lighting) |
|  | 4th | 7.4. Mechanism of lightning discharge. |
|  | 5th | TUTORIAL |
| 14th | 1st | 7.5. Types of lightning strokes |
|  | 2nd | 7.6. Harmful effect of lightning. |
|  | 3rd | 7.7. Lightning arresters and Type of lightning Arresters. 7.7.1. Rod-gap lightning arrester. 7.7.2. Horn-gap arrester. 7.7.3. Valve type arrester. |

|  | 4th | 7.8. Surge Absorber |
| --- | --- | --- |
|  | 5th | TUTORIAL |
| 15th | 1st | STATIC RELAY: 8. 1 Advantage of static relay. |
|  | 2nd | 8. 2 Instantaneous over current relay. |
|  | 3rd | 8. 2 Instantaneous over current relay. |
|  | 4th | 8. 3 Principle of IDMT relay |
|  | 5th | TUTORIAL |